## Slide 1: Lakeview Estates
Public Meeting
February 26, 2026
7:00pm
Fluoride Overview

## Slide 2: Presentation Outline
OUTLINE
Changes to Potable Water Regulations
Fluoride Risks
Lakeview Estates Fluoride Concentration
Investigation and Activities to Date
Fluoride Mitigation Options
Contact Information
Questions and Comments

## Slide 3: Changes to Fluoride (MAC)
OVERVIEW
Changes made to the Alberta Water Act Regulations June 2022
Alberta Environment Lowered Fluoride Maximum Allowable Concentration (MAC) to Match Federal Standard of 1.5 mg/L
Lakeview Estates Compliance by December 2030

## Slide 4: Fluoride Risks
FLUORIDE
FACTS
Dental Fluorosis
“ Fluoride levels higher than 1.5 mg/L may:
Cause white spots to form on tooth enamel (called dental fluorosis) in children up to the age of 8. ”
Source:
https://myhealth.alberta.ca/Alberta/Pages/High-Levels-of-Fluoride-in-Drinking-Water.aspx

## Slide 5: Fluoride Risks
FLUORIDE
FACTS
2. Skeletal Fluorosis
“ Fluoride levels higher than 1.5 mg/L may:
Raise the risk of skeletal fluorosis, a condition that causes bones to break easily and causes calcium to build up in ligaments and tendons. “
Source:
https://myhealth.alberta.ca/Alberta/Pages/High-Levels-of-Fluoride-in-Drinking-Water.aspx

## Slide 6: Fluoride Risks
FLUORIDE
FACTS
“ Fluoride can't get through your skin. It's safe to use water with fluoride levels above 1.5 mg/L for washing dishes, doing laundry, handwashing, and bathing.”
Source:
https://myhealth.alberta.ca/Alberta/Pages/High-Levels-of-Fluoride-in-Drinking-Water.aspx

## Slide 7: Lakeview Estates Flouride Concentration?
FLUORIDE
CONCENTRATIONS

## Slide 8: Timeline
TIMELINE
JAN 2022
AEPA meeting
- Fluoride changes
JUN 2022
AEPA changes to Code of Practice
AUG 2022
Consultant Assessment – Treatment Solutions
JUL 2024
Letter received from Director of AEPA
OCT 2025
Fluoride Assessment Required
DEC 2030 Compliant with 1.5 mg/L Fluoride
JUN 2026 Application for AEPA Approval

## Slide 9: What is Lacombe County doing about It?
FLUORIDE
CONCENTRATIONS
Letters
Since 2011
Analysis
L.C. trending since 2009
Compliance
Lakeview compliant until 2022
Investigation
Internal
AEPA
Formal letter
2030
Compliance date

## Slide 10: What are Possible Solutions?
SOLUTIONS
Alternative Water Source
Well Exploration
Regional Water line
POE (Point of Entry)
In Plant Ion Exchange Treatment
POU (Point of Use)
In-home Reverse Osmosis Treatment

## Slide 11: POE - Point of Entry
HOW IT WORKS
In-Plant Ion Exchange Treatment
Like Water Softener with Different Media
Fluoride Particles Chemically "Stick" to Media
Weekly System Backwash Strips Fluoride
Hauling of Backwashed Wastewater
Annual Media Replacement

## Slide 12: POE Point of Entry
SOLUTIONS
Ion Exchange Treatment Challenges
Operation of Plant During Facility Renovations
Additional Treatment Required (pH & Sedimentation)
Regular Media Replacement
Hauling of Backwashed Wastewater
High Capital and Operational Costs

## Slide 13
Alternative Water Source?
2025 Test Well Exploration
No viable aquafer below existing (150-meter maximum depth)
Regional Water Line
    2025 High-Level Concept
Feasibility Study Grant Application 2025

## Slide 14
High-Level Regional Water Line Concept

## Slide 15: POU - Point of Use
HOW IT WORKS
In-Home Reverse Osmosis Treatment
Single R.O. Tap Standardized & Monitored for Drinking and Cooking
Readily Available Commercial Technology
No Disruption to Plant or Water System
Lowest Capital and Operational Short-term Solution until Longterm Solution is Implemented

## Slide 16: POU - Point of Use
SOLUTIONS
In-Home Reverse Osmosis Challenges
Only Mitigates Fluoride at One Tap
Ongoing Maintenance & Filter Replacement
Mandatory Fluoride Testing From Tap – Frequency To Be Determined

## Slide 18: Alberta Environment & Protected Areas
REGULATORY
CONTACTS
Terrina.Perley@gov.ab.ca
403-340-5568
Jesse Skwaruk
Drinking Water Operations Specialist
Drinking Water & Wastewater Programs
Water and Waste Sustainability
Jesse.Skwaruk@gov.ab.ca
403-396-8714

## Slide 19: Alberta Health Services
HEALTH
CONTACT
Pamela Kutuadu B.Sc. B.EH (AD), MPH, CPHI(C)
Public Health Inspector II
Central Zone- Drinking Water and Land use Lead
300 Jordan Parkway
Red Deer, AB T4P 0G8
Pamela.Kutuadu@albertahealthservices.ca
403-406-1029

## Slide 20: Lacombe County
County
CONTACTS

## Slide 21: Questions & Comments